## Eversource Determination
Op Co. | Date Application Deemed Complete | WO # / Application ID | Max Size (kW) AC | Export Limit (kW AC) | Fuel Source Type | Station Name | Eversource PPA Level Screening | Eversource PPA Level Justification | ISO-NE PPA Level Determination | ISO-NE PPA Level Justification
WMECO | 2021-02-22 | 6B2669-2021 | 2660 | 2660 | PV & BESS | Berkshire 18C | Level 3 | Level 3 by aggregate. Electrical proximity to Doreen, Plainfield, Ashfield and Cumberland. | Level 3 | Level 3 by aggregate. Electrical Proximity to Berkshire, Doreen, Partridge, Oswald, Woodland, Pleasant, Plainfield & Ashfield
WMECO | 2021-04-26 | 5430981 | 4990 | 4990 | PV & BESS | Berkshire 18C | Level 3 | Level 3 by aggregate. Electrical Proximity to Berkshire, Doreen, Partridge, Oswald, Woodland, Pleasant, Plainfield & Ashfield
WMECO | 2020-06-25 | 6B2431-2020 | 2000 | 2000 | PV & BESS | Blandford 19J | Level 3 | Level 3 Completed | Level 3 | 20 MW Threshold met at Blandford
WMECO | 2020-06-25 | 6B2432-2020 | 4990 | 4990 | PV & BESS | Blandford 19J | Level 3 | Level 3 Completed | Level 3 | 20 MW Threshold met at Blandford
WMECO | 2019-06-13 | 6B2161-2019 | 5000 | 5000 | PV & BESS | Blandford 19J | Level 3 | Level 3 Completed | Level 3 | 20 MW Threshold met at Blandford
WMECO | 2021-04-19 | 5371604 | 5000 | 5000 | PV & BESS | Blandford 19J | Level 3 | Level 3 completed. 20MW threshold met at Blandford 19J. Also level 3 by size
WMECO | 2020-06-25 | 6A4844-2020 | 2000 | 2000 | PV & BESS | Cumberland 22B | Level 3 | Level 3 Completed | Level 3 | Level 3 by aggregate. Electrical Proximity to French King, Montague, Cumberland, Podick, & Tilson
WMECO | 2020-11-12 | 6A5102-2020 | 4990 | 4990 | PV & BESS | Cumberland 22B | Level 3 | Level 3 Completed | Level 3 | Level 3 by aggregate. Electrical Proximity to French King, Montague, Cumberland, Podick, & Tilson
WMECO | 2021-02-22 | 6B2665-2021 | 4990 | 4990 | PV & BESS | Doreen 19A | Level 3 | 20MW or more | Level 3 | Level 3 by aggregate. Electrical Proximity to Berkshire, Doreen, Partridge, Oswald, Woodland, Pleasant, Plainfield & Ashfield
WMECO | 2020-06-25 | 6S6361-2020 | 1669 | 1669 | PV & BESS | East Springfield 5J | Level 3 | 20MW or more | Level 0 | No projects submitted to this station after Jan 1st 2019
WMECO | 2020-06-24 | 6A4755-2020 | 2000 | 2000 | PV/ PV & BESS | French King 21B | Level 3 | 20MW or more | Level 3 | Level 3 by aggregate. Electrical Proximity to French King, Montague, Cumberland, Podick, & Tilson
WMECO | 2020-06-24 | 6A4835-2020 | 2900 | 2900 | PV & BESS | French King 21B | Level 3 | 20MW or more | Level 3 | Level 3 by aggregate. Electrical Proximity to French King, Montague, Cumberland, Podick, & Tilson
WMECO | 2020-06-24 | 6A4838-2020 | 2000 | 2000 | PV & BESS | French King 21B | Level 3 | 20MW or more | Level 3 | Level 3 by aggregate. Electrical Proximity to French King, Montague, Cumberland, Podick, & Tilson
WMECO | 2020-06-25 | 6A4839-2020 | 2000 | 2000 | PV & BESS | French King 21B | Level 3 | 20MW or more | Level 3 | Level 3 by aggregate. Electrical Proximity to French King, Montague, Cumberland, Podick, & Tilson
WMECO | 2021-04-09 | 6A5127-2021 | 2267 | 1500 | Solar | French King 21B | Level 3 | Level 3 by aggregate. Electrical Proximity to French King, Montague, Cumberland, Podick, & Tilson
WMECO | 2020-06-25 | 6A4842-2020 | 2000 | 2000 | PV & BESS | Montague 21C | Level 3 | 20MW or more | Level 3 | Level 3 by aggregate. Electrical Proximity to Montague, Podick, & Tilson
WMECO | 2020-06-25 | 6A4843-2020 | 2000 | 2000 | PV & BESS | Montague 21C | Level 3 | 20MW or more | Level 3 | Level 3 by aggregate. Electrical Proximity to Montague, Podick, & Tilson
WMECO | 2020-06-25 | 6A4845-2020 | 1570 | 1570 | PV & BESS | Montague 21C | Level 3 | 20MW or more | Level 3 | Level 3 by aggregate. Electrical Proximity to Montague, Podick, & Tilson
WMECO | 2020-07-10 | 6A4913-2020 | 4990 | 4990 | PV/ PV & BESS | Montague 21C | Level 3 | 20MW or more | Level 3 | Level 3 by aggregate. Electrical Proximity to Montague, Podick, & Tilson
WMECO | 2020-07-10 | 6A4914-2020 | 1300 | 1300 | PV/ PV & BESS | Montague 21C | Level 3 | 20MW or more | Level 3 | Level 3 by aggregate. Electrical Proximity to Montague, Podick, & Tilson
WMECO | 2020-10-10 | 6B2615-2020 | 2490 | 2490 | PV & BESS | Oswald 30B | Level 3 | Level 3 by aggregate. Electrical proximity to Partridge and Woodland. | Level 3 | Level 3 by aggregate. Electrical Proximity to Berkshire, Doreen, Partridge, Oswald, Woodland, Pleasant, Plainfield & Ashfield
WMECO | 2020-12-24 | 6A5112-2020 | 1990 | 1990 | PV/ PV & BESS | PLAINFIELD 18K | Level 3 | Level 3 by aggregate. Electrical proximity to Berkshire, Ashfield, Cumberland and Montague | Level 3 | Level 3 by aggregate. Electrical Proximity to Berkshire, Doreen, Partridge, Oswald, Woodland, Pleasant, Plainfield & Ashfield
WMECO | 2020-11-23 | 6B2660-2020 - withdrawn | 3625 | 3625 | PV | Pleasant 16B | Level 3 | Level 3 by aggregate. Electrical proximity to Blandford and Woodland | Level 3 | Level 3 by aggregate. Electrical Proximity to Berkshire, Doreen, Partridge, Oswald, Woodland, Pleasant, Plainfield & Ashfield
WMECO | 2020-04-15 | 6A4825-2020 | 2750 | 2750 | PV/ PV & BESS | Podick 18G | Level 3 | 20MW or more | Level 3 | Level 3 by aggregate. Electrical Proximity to Montague, Podick, & Tilson
WMECO | 2020-09-09 | 6A5016-2020 | 4950 | 4950 | BESS | Podick 18G | Level 3 | 20MW or more | Level 3 | Level 3 by aggregate. Electrical Proximity to Montague, Podick, & Tilson
WMECO | 2020-07-10 | 6S6392-2020 | 4990 | 4990 | PV & BESS | Southwick 29A | Level 3 | 20MW or more | Undetermined | Possible room at Southwick before 20MW threshold is met
WMECO | 2020-07-10 | 6S6393-2020 | 2000 | 2000 | PV & BESS | Southwick 29A | Level 3 | 20MW or more | Undetermined | Possible room at Southwick before 20MW threshold is met
WMECO | 2020-07-10 | 6S6394-2020 | 2000 | 2000 | PV & BESS | Southwick 29A | Level 3 | 20MW or more | Undetermined | Possible room at Southwick before 20MW threshold is met
WMECO | 2020-07-10 | 6S6395-2020 | 4990 | 5000 | PV & BESS | Southwick 29A | Level 3 | 20MW or more | Undetermined | Possible room at Southwick before 20MW threshold is met
WMECO | 2021-02-22 | 6S6782-2021 | 4600 | 4600 | PV & BESS | Southwick 29A | Level 3 | 20MW or more | Undetermined | Possible room at Southwick before 20MW threshold is met

## ISO-NE Determination
Op Co. | Date Application Deemed Complete | WO # / Application ID | Max Size (kW) AC | Export Limit (kW AC) | Fuel Source Type | Station Name | ISO-NE PPA Level Determination | ISO-NE PPA Level Justification | Comment
WMECO | 2021-02-22 | 6B2669-2021 | 2660 | 2660 | PV & BESS | Berkshire 18C | Level 3 | Level 3 by aggregate. Electrical Proximity to Berkshire, Doreen, Partridge, Oswald, Woodland, Pleasnt, Plainfield & Ashfield
WMECO | 2021-04-26 | 5430981 | 4990 | 4990 | PV & BESS | Berkshire 18C | Level 3 | ISO-NE concurs Level 3 required | Level 3 by agregate. Electrical Proximity to Berkshire, Doreen, Partridge, Oswald, Woodland, Pleasnt, Plainfield & Ashfield
WMECO | 2020-06-25 | 6B2431-2020 | 2000 | 2000 | PV & BESS | Blandford 19J | Level 3 | 20 MW Threshold met at Blandford
WMECO | 2020-06-25 | 6B2432-2020 | 4990 | 4990 | PV & BESS | Blandford 19J | Level 3 | 20 MW Threshold met at Blandford
WMECO | 2019-06-13 | 6B2161-2019 | 5000 | 5000 | PV & BESS | Blandford 19J | Level 3 | 20 MW Threshold met at Blandford
WMECO | 2021-04-19 | 5371604 | 5000 | 5000 | PV & BESS | Blandford 19J | Level 3 | ISO-NE concurs Level 3 required | Level 3 completed. 20MW threshold met at Blandford 19J. Also level 3 by size
WMECO | 2020-06-25 | 6A4844-2020 | 2000 | 2000 | PV & BESS | Cumberland 22B | Level 3 | Level 3 by aggregate. Electrical Proximity to French King, Montague, Cumberland, Podick, & Tilson
WMECO | 2020-11-12 | 6A5102-2020 | 4990 | 4990 | PV & BESS | Cumberland 22B | Level 3 | Level 3 by aggregate. Electrical Proximity to French King, Montague, Cumberland, Podick, & Tilson
WMECO | 2021-02-22 | 6B2665-2021 | 4990 | 4990 | PV & BESS | Doreen 19A | Level 3 | Level 3 by aggregate. Electrical Proximity to Berkshire, Doreen, Partridge, Oswald, Woodland, Pleasnt, Plainfield & Ashfield
WMECO | 2020-06-25 | 6S6361-2020 | 1669 | 1669 | PV & BESS | East Springfield 5J | Level 0 | No projects submitted to this station after Jan 1st 2019 | No analysis required. Level 0 PPA will be accepted by ISO-NE for the first 5MW
WMECO | 2020-06-24 | 6A4755-2020 | 2000 | 2000 | PV/ PV & BESS | French King 21B | Level 3 | Level 3 by aggregate. Electrical Proximity to French King, Montague, Cumberland, Podick, & Tilson
WMECO | 2020-06-24 | 6A4835-2020 | 2900 | 2900 | PV & BESS | French King 21B | Level 3 | Level 3 by aggregate. Electrical Proximity to French King, Montague, Cumberland, Podick, & Tilson
WMECO | 2020-06-24 | 6A4838-2020 | 2000 | 2000 | PV & BESS | French King 21B | Level 3 | Level 3 by aggregate. Electrical Proximity to French King, Montague, Cumberland, Podick, & Tilson
WMECO | 2020-06-25 | 6A4839-2020 | 2000 | 2000 | PV & BESS | French King 21B | Level 3 | Level 3 by aggregate. Electrical Proximity to French King, Montague, Cumberland, Podick, & Tilson
WMECO | 2021-04-09 | 6A5127-2021 | 2267 | 1500 | Solar | French King 21B | Level 3 | ISO-NE concurs Level 3 required | Level 3 by aggregate. Electrical Proximity to French King, Montague, Cumberland, Podick, & Tilson
WMECO | 2020-06-25 | 6A4842-2020 | 2000 | 2000 | PV & BESS | Montague 21C | Level 3 | Level 3 by aggregate. Electrical Proximity to Montague, Podick, & Tilson
WMECO | 2020-06-25 | 6A4843-2020 | 2000 | 2000 | PV & BESS | Montague 21C | Level 3 | Level 3 by aggregate. Electrical Proximity to Montague, Podick, & Tilson
WMECO | 2020-06-25 | 6A4845-2020 | 1570 | 1570 | PV & BESS | Montague 21C | Level 3 | Level 3 by aggregate. Electrical Proximity to Montague, Podick, & Tilson
WMECO | 2020-07-10 | 6A4913-2020 | 4990 | 4990 | PV/ PV & BESS | Montague 21C | Level 3 | Level 3 by aggregate. Electrical Proximity to Montague, Podick, & Tilson
WMECO | 2020-07-10 | 6A4914-2020 | 1300 | 1300 | PV/ PV & BESS | Montague 21C | Level 3 | Level 3 by aggregate. Electrical Proximity to Montague, Podick, & Tilson
WMECO | 2020-10-10 | 6B2615-2020 | 2490 | 2490 | PV & BESS | Oswald 30B | Level 3 | Level 3 by aggregate. Electrical Proximity to Berkshire, Doreen, Partridge, Oswald, Woodland, Pleasnt, Plainfield & Ashfield
WMECO | 2020-12-24 | 6A5112-2020 | 1990 | 1990 | PV/ PV & BESS | PLAINFIELD 18K | Level 3 | Level 3 by aggregate. Electrical Proximity to Berkshire, Doreen, Partridge, Oswald, Woodland, Pleasnt, Plainfield & Ashfield
WMECO | 2020-11-23 | 6B2660-2020 - withdrawn | 3625 | 3625 | PV | Pleasant 16B | Level 3 | Level 3 by aggregate. Electrical Proximity to Berkshire, Doreen, Partridge, Oswald, Woodland, Pleasnt, Plainfield & Ashfield
WMECO | 2020-04-15 | 6A4825-2020 | 2750 | 2750 | PV/ PV & BESS | Podick 18G | Level 3 | Level 3 by aggregate. Electrical Proximity to Montague, Podick, & Tilson
WMECO | 2020-09-09 | 6A5016-2020 | 4950 | 4950 | BESS | Podick 18G | Level 3 | Level 3 by aggregate. Electrical Proximity to Montague, Podick, & Tilson
WMECO | 2020-07-10 | 6S6392-2020 | 4990 | 4990 | PV & BESS | Southwick 29A | Undetermined* | Possible room at Southwick before 20MW threshold is met | Level 0 confirmation of no adverse impact needed. A transfer level analysis required till 20MW threshold is reached
WMECO | 2020-07-10 | 6S6393-2020 | 2000 | 2000 | PV & BESS | Southwick 29A | Undetermined* | Possible room at Southwick before 20MW threshold is met | Level 0 confirmation of no adverse impact needed. A transfer level analysis required till 20MW threshold is reached
WMECO | 2020-07-10 | 6S6394-2020 | 2000 | 2000 | PV & BESS | Southwick 29A | Undetermined* | Possible room at Southwick before 20MW threshold is met | Level 0 confirmation of no adverse impact needed. A transfer level analysis required till 20MW threshold is reached
WMECO | 2020-07-10 | 6S6395-2020 | 4990 | 5000 | PV & BESS | Southwick 29A | Undetermined* | Possible room at Southwick before 20MW threshold is met | Level 0 confirmation of no adverse impact needed. A transfer level analysis required till 20MW threshold is reached
WMECO | 2021-02-22 | 6S6782-2021 | 4600 | 4600 | PV & BESS | Southwick 29A | Undetermined* | Possible room at Southwick before 20MW threshold is met | Level 0 confirmation of no adverse impact needed. A transfer level analysis required till 20MW threshold is reached